## Art
| Date: |  | Inspected By:
Art | Yes | Improve | No | Implement | Action Required/Comments
Approved arts/crafts used?
Kiln in good condition and free of debris?
Good organization of supplies?
Kiln fire brick is free of cracks, elements not broken/bent and exhaust ventilation provided to exterior?
Kiln not operated after hours when building is not occupied?
Is adequate clearance, as specified by kiln manufacturer, provided between kiln and combustible materials?
Supplies stored as to not restrict/obstruct access in storage closets?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Bleachers
| Date: |  | Inspected By:
Bleachers and Grandstands | Yes | Improve | No | Implement | Action Required/Comments
Openings – less than 4” diameter if seats are higher than 30” above grade?
Family seating area (if needed)?
Seat boards, footboards, railings and guardrails secured?
No loose bolts, cracked welds?
Annual visual inspection completed by staff to identify loose hardware and/or components in need of repair?
Does a licensed professional engineer, registered architect or company that is qualified to provide bleacher products and services inspect the bleachers at least every two years and provide written certification that bleachers are fit for use?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Boiler Rooms
| Date: |  | Inspected By:
Boiler Rooms | Yes | Improve | No | Implement | Action Required/Comments
No lawn mowers or snow blowers stored?
No blocked exits?
Good housekeeping?
Fire extinguisher – annual inspection by a professional?
Emergency generator – tested monthly?
Access to these areas should be limited; doors to these areas should be kept locked at all times when school is in session. Panic hardware is working properly and door closes itself without assistance?
Stairways leading into room (where applicable) free of materials and have good treading?
Emergency shut-off buttons easily accessible?
Light switches are easy to reach. Lighting comes on instantaneously?
Floors are free of debris, grease; water from blow down is reaching drains without damaging stored boxes and supplies?
Supplies are stacked so that heavier items are on the bottom, lighter items on top? Corrosive items on top are stored in a manner to prevent skin and eye burns?
Flammable items such as gasoline and solvents are not stored in boiler rooms?
Panel covers to electrical equipment, boiler controls, water heaters and other equipment are in place and secure? There should be a minimum amount of exposed wiring to equipment. Equipment belt guards in place?
Safety Data Sheets are available? Critical phone numbers are posted?
Inoperable equipment taken out-of-service and done only by using lockout/tagout procedure?
Electrical panels should not have items stacked in front of them, a minimum of 36 inches clearance maintained?
Area free of extension cords? (Extension cords only permitted for temporary use.) Electrical outlets within six feet of water sources have GFCI outlets installed?
Items not hung in a manner that a person could easily walk and strike them?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Cafeteria
| Date: |  | Inspected By:
Cafeterias/Multi-purpose room/Cafetorium | Yes | Improve | No | Implement | Action Required/Comments
Floors – no tripping hazards and non-slip surfaces?
Tables, chairs and stools – no rough edges or loose hardware?
Tables – tip-over hazard controlled when stored?
Cafeteria tables easy to operate when folding and/or transporting?
Exits properly marked with illuminated signs and kept clear at all times?
Stored tables are out of hallways or other high traffic areas?
Floors are clean and free of spilled food.
Basketball nets are secured?
Ceiling tiles are in place? Light fixture guards are secured?
Stage area: Props from plays, musical instruments, music stands and risers are stored in a manner in which they will not fall over?
Overhead lighting, cables, clamps and batons are secured and electrical cords do not pose a trip hazard?
Floors and steps are free of excessive dust, confetti, glitter and other substances that can contribute to a slip hazard?
Chairlift doors are closed and operator controls are locked out?
Ladders are properly secured and stored?
Electrical panels are not covered, are free of dust and have 36 inches of frontal clearance?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Classrooms
| Date: |  | Inspected By:
Classrooms | Yes | Improve | No | Implement | Action Required/Comments
Windows operate easily so as to not place a strain on the individual?
Means provided to access overhead heights such as a stepstool having a handhold or a ladder? An alternative to equipment is to have a protocol in place for classroom staff to contact Custodial/Maintenance to access overhead heights.
Workstations:
_____ Seating.
_____ Keyboards.
_____ Monitors.
_____ Mouse.
Items securely stored on shelving?
Objects hanging from ceiling do not pose struck-by hazard?
Cables attached to smart boards, projectors, computers, etc., are not a trip hazard?
Extension cords are not placed under rugs or mats?
Rugs and floor mats are secured firmly to the floor? Rugs are free of fraying?
Heating/cooling units not used for supply storage?
Ceilings are free of water stains?
Science classroom workstations are not leaking gas or water?
Floors are kept clean and dry?
Tables, desks and chairs are in good shape? Legs of these items all have furniture pads?
Electrical outlets are secure in wall with wall plates in place? Electrical cords are in good repair, complete with third-pronged grounding plug?
All chemical or water containers have appropriate labels?
Required personal protective equipment provided?
Mats in front of exit doorways are non-skid?
A clear pathway of 36 inches to emergency exit is clearly designated and maintained?
Stepladders/ladders readily available for accessing overhead storage?
Televisions, Promethean Boards, projectors, etc., securely anchored to a structural building component?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Computer Room
| Date: |  | Inspected By:
Computer Rooms | Yes | Improve | No | Implement | Action Required/Comments
Are combustibles stored in approved, enclosed metal cabinets?
Is combustible waste, e.g., trash containers, cardboard boxes, etc., removed from the room daily or more often as needed?
Is the computer room free of flammable/combustible liquids?
Are computer tapes stored in approved, enclosed metal cabinets?
Is the raised floor free of unsealed cable holes?
Is the access to fire suppression and alarm systems unobstructed?
Are floor tile pullers available and mounted?
Are doors to the peripheral rooms closed?
Is paper stored in computer room limited to a one-day supply?
Is the room free of repair shop operations?
Is the room free of soldering irons?
Is the room free of coffee makers, popcorn machines, electrical floor/space heaters, etc.?
Are "NO SMOKING" signs posted and being enforced in computer rooms?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Custodial
| Date: |  | Inspected By:
Custodial | Yes | Improve | No | Implement | Action Required/Comments
Trash is emptied in a safe, ergonomic manner, minimizing strain potential?
Furniture is moved in a safe, ergonomic manner, minimizing strain potential?
Ladders are in good condition and securely stored when not in use?
Flammable liquid containers are in good condition and are properly stored?
Fluorescent and incandescent lamps are equipped with cages to protect against accidental contact with objects?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Doors
| Date: |  | Inspected By:
Doors | Yes | Improve | No | Implement | Action Required/Comments
Faculty members are required to lock classrooms upon leaving.
Multiple entries to the building are controlled and supervised.
Doors accessing internal courtyards are securely locked.
Mechanical rooms and other hazardous storage areas are kept locked.
The school maintains a record of all maintenance on doors, windows, lockers and other areas of the school.
Windows and Doors | Yes | Improve | No | Implement | Action Required/Comments
Entrances to school property can be observed from the school and are adequately secured after hours.
If campus style, doors are locked when classrooms are vacant.
Ground floor windows: no broken panes and locking hardware in working order.
Basement windows are protected with grill or well cover.
Outside hardware has been removed from all doors except at point of entry.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Electrical
| Date: |  | Inspected By:
Electrical | Yes | Improve | No | Implement | Action Required/Comments
Is there at least 36 inches of clearance in front of electrical panels/breaker boxes?
Are electrical hand tools properly grounded/double insulated?
Is the area free of extension cords?
Is all electrical equipment plugged directly into wall outlets?
Are all cords/plugs free from damage or deterioration?
Are switches and circuit breakers properly identified as to the service they are in and what they control?
Are circuit breaker panels free of combustible materials?
Are cover plates in place on junction boxes to eliminate exposed wiring?
Are "WARNING HIGH VOLTAGE" signs on high voltage enclosures for systems rated 600V or over?
Is all electrical, including light fixtures, protected from physical damage by enclosure/guards?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Elevated Areas
| Date: |  | Inspected By:
Railing/Elevated Work Areas | Yes | Improve | No | Implement | Action Required/Comments
Are drain openings/pits in the floor or walking surfaces guarded to prevent tripping/slipping?
Are toeboards in place on elevated platforms to prevent objects from falling off the platform?
Are standard guardrails provided on elevated platforms?
Are handrails provided and in good condition on stairways?
Are there provisions for safe access to elevated machinery/equipment?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Emergency Equipment
| Date: |  | Inspected By:
Emergency Equipment | Yes | Improve | No | Implement | Action Required/Comments
Is emergency equipment (alarm pull boxes, eyewashes, showers, etc.) accessible and not blocked by equipment?
Are emergency eyewashes provided in the required chemical areas?
Are emergency showers provided in the required chemical areas?
Is all emergency equipment in good condition?
Are spill kits accessible and fully stocked per list?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Entrances
| Date: |  | Inspected By:
Floors, Hallways, Entrances & Exits | Yes | Improve | No | Implement | Action Required/Comments
Good housekeeping:
Halls & exits – not blocked by storage.
Walk-off mats – at entrances:
Adequate width and length.
Beveled edges, good condition.
“Wet Floor” signs – used, as needed.
Non-slip floor finishes used.
Emergency Exits:
_____ Maps/Signs.
_____ Unobstructed.
_____ Lighting.
Fire Extinguishers:
_____ Mounted.
_____ Accessible.
_____ Serviced.
Call buttons, access and security devices are working properly.
Door closure mechanisms are functioning, door hardware is functioning properly, mullions are secure and door latches secured without assistance.
Floor mats are flat and do not slide out of place easily.
Ceiling tiles are secure as well as exit signs.
Objects such as banners, art displays or decorations do not obstruct identification of exit signage or interfere with security cameras/motion detectors.
Boxes, packages and equipment are not blocking entrances or exits.
Glass in window and doorframes are free of cracks.
Floors are clean and free of debris that may cause slipping or falling hazards.
Hallways do not have desks, chairs or tables that may block high traffic areas.
Lighting is sufficient, exits are clearly marked, light fixtures are secure, and lens covers are properly attached.
Fire extinguisher cabinet door covers are secure, and Plexiglas is free of sharp edges.
Displays on walls are secure.
Magnetic door holders are working and not propped open with wooden wedges.
Treads on steps are safe.
Elevator is working properly, door set correctly, cab floor level with walkway floor when open. Lights in cab are maintained.
Are all corridors unobstructed?
Are all exit doors unobstructed?
Area exit signs posted and properly illuminated to clearly indicate exits?
Are all exit doors able to be opened from the inside without special knowledge/keys?
Are exit doors free of slide bolts or locks?
All walkways and bus loading areas are marked where appropriate.
Walking surfaces that are regularly wet or slippery have non-slip surfacing materials.
Holes, uneven areas in floors and sidewalks are repaired or protected by a barrier.
Standard guardrails are provided wherever aisle or walkway surfaces are elevated.
All exits are marked with exit signs.
Doors, passageways or stairways that are neither exits nor access to exits, and which could be mistaken for exits, are appropriately marked (e.g. "Not an Exit").
Exit signs are provided with the word "EXIT" in lettering at least 5 inches high and the stroke of the lettering is at least 1/2 inch wide.
Exit doors can be opened from the direction of the exit travel without the use of a key or special knowledge or effort when the building is occupied.
Large glass doors and side lights are shatterproof or safety glass.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Fire Protection
| Date: |  | Inspected By:
Fire Protection | Yes | Improve | No | Implement | Action Required/Comments
Are there current welding permits displayed in welding area?
Are all self-closing doors operational?
Are walls and floors free of holes/penetrations?
Are no smoking regulations clearly posted and being followed in "NO SMOKING" areas?
Is access to fire extinguishers clear and unobstructed?
Are all extinguishers in place and properly mounted?
Are all fire extinguishers visually inspected monthly and serviced annually by an outside contractor?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Forklifts
| Date: |  | Inspected By:
Forklifts | Yes | Improve | No | Implement | Action Required/Comments
Are defective forklifts taken out of service and tagged "DO NOT USE"?
Are forklift inspection forms current and maintained in a file?
Are load limits clearly posted in the area?
Are forklift operating rules clearly posted in the area?
Are all operators trained and authorized?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## General All Areas
| Date: |  | Inspected By:
General - All Areas | Yes | Improve | No | Implement | Action Required/Comments
Are all ceiling tiles in place and in good condition?
Is all furniture in good/stable condition and properly adjusted?
Are wall-mounted book cases free of excessive material on top and not overloaded? (Chemical & heavy items should not be stored above head height (6 feet))?
Are all walking or working surfaces free of tipping/slipping hazards?
Are emergency phone numbers and procedures posted at or near telephones?
Are all fans equipped with a blade guard with openings no greater than 1/2 inch?
Is consumption of food, beverage, etc., prohibited where required?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## General Shop
| Date: |  | Inspected By:
General - Shops | Yes | Improve | No | Implement | Action Required/Comments
Table Saws.
Blade Guard in use at ALL time.
Splitter located behind blade.
Push sticks available and used.
Anti-kickback fingers on front of blade for ripping operations.
Radial Arm Saws.
Blade cannot extend beyond table.
Blade has automatic return.
Ring guards present on both sides of blade.
Anti-kickback fingers on front of blade for ripping operations.
Band Saws.
Unused portion of blade protected.
Guard dropped to cover full blade when not in use.
Routers have point of operation protection.
Portable power tools double insulated or with ground prong if not double insulated and with undamaged cord.
Hand tools in good condition.
Housekeeping. Slip, trip & fall issues identified and controlled.
Compressed gas cylinders chained at the belly of the tank. Oxygen and Acetylene stored at least 20' apart.
Grinders in alignment, with wheel within 1/4 inch of tongue guard and 1/8 inch of tool rest.
All nip points guarded (where belts meet pulleys, etc.).
Screens used during welding operations.
Adequate ventilation provided for woodworking, painting and welding operations?
Personal protective equipment available and worn.
Are machine guards and belts in place and in good condition?
Is pedestal machinery securely anchored to the floor?
Is equipment properly maintained and adjusted to prevent personal injury and equipment damage?
Are compressed air nozzles at the correct pressure of 30 psi or less?
Is all piping appropriately identified as to contents/directions of flow?
Are hot pipes and surfaces guarded against contact and clearly marked "HOT"?
Area areas requiring use of protective equipment (e.g. Eye Protection Required, etc.) adequately posted with warning signs and enforced?
Is damaged/malfunctioning equipment taken out of service?
Are flashback arrestors installed on oxy-fuel cutting equipment?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Gym
| Date: |  | Inspected By:
Gym / Auditorium / Stage | Yes | Improve | No | Implement | Action Required/Comments
Exits properly marked with illuminated sign(s) and kept clear at all times.
Emergency lighting system operational and inspected regularly.
Stairs with 4 or more risers have handrails.
Aisle and step illumination provided in auditorium when overhead lights dimmed/off.
Stage lighting secured with emergency straps.
Standard railings present on overhead platforms: 39" - 42" top rail with mid-rail and 4" toe board.
PE Storage - trip & fall hazards controlled.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Health Room
| Date: |  | Inspected By:
Health Room | Yes | Improve | No | Implement | Action Required/Comments
Biohazard disposal containers used (red bags).
Medical face shield and latex gloves readily available for emergency use by all staff.
Other first aid supplies easily accessible.
Rigid sharps disposal container provided.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Industrial Arts
| Date: |  | Inspected By:
Industrial Arts Department | Yes | Improve | No | Implement | Action Required/Comments
Eye protection and other PPE – enforced.
Safety rules – on walls and on machinery/equipment – enforced.
Eyewash Stations: Marked/Accessible/15 Minute supply.
_____ Plumbed emergency eyewash/shower stations inspected monthly, prepared eyewash solution not expired.
_____ Accessible.
_____ 15 Minute supply.
Hazcom:
_____ Posting.
_____ SDS File.
_____ Lids/Labels.
_____ Training.
Personal Protective Equipment:
_____ Gloves.
_____ Eyewear.
_____ Hearing.
_____ Footwear.
_____ Barrier-creams.
_____ Clothing.
_____ Heat/Cold.
3D printers not operated when room is vacant.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Intercom
| Date: |  | Inspected By:
Intercom Emergency System | Yes | Improve | No | Implement | Action Required/Comments
Random test of intercom system reveals all areas of the school, including corridors and outside areas, can be notified of an emergency.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Kitchen
| Date: |  | Inspected By:
Food Service Department – Kitchens | Yes | Improve | No | Implement | Action Required/Comments
Equipment – guarded.
Personal protective equipment available (i.e. gloves).
Floors – nonslip surfaces.
Fire safety – “Ansul” system professionally inspected in past 6 months.
Cutlery – proper storage when not in use.
First aid kit, SDS binder available.
Good housekeeping practices.
Cut-resistant gloves used for slicer use, cleaning of sharp utensils and can recycling.
Eye, Hand, and Respiratory protection worn when handling dishwasher chemicals.
Heavy items stored between shoulder and knee height. Lighter items stored on upper and lower shelves.
Wet floor areas kept clean. Mops and mats available as needed.
Foodservice:
_____ Knives Racked.
_____Cut-resistant gloves.
_____ Mats.
_____ Dry Storage Practice.
_____ Guards.
_____ Hot Surfaces.
_____ Floor.
Applicable personal protective equipment (PPE) provided -- cut-resistant gloves, aprons, forearm length oven/steam mitts.
Items, equipment, supplies prohibited from storage on loading docks.
Exterior doors are kept secure. Doors are locked and doorbell is present and working to alert staff of deliveries. Exits are clearly marked. Exit areas are free of obstructions.
Floors are free of standing water, grease and food items. Electrical floor boxes and pipes are not in areas where they can be accidentally stepped into or tripped upon, or bumped into.
Overhead drops are in areas where they cannot become entangled or bumped into by workers.
Fire suppression equipment is inspected and functioning properly, emergency stop stations are easily reachable and not obstructed; fire extinguishers are fully charged and inspected.
Make up air units are working, ventilation fans are working properly.
Electrical panels have 36 inches clearance, panel covers are secure.
First aid kits are easily accessible, and are kept stocked with up to date supplies.
Safety Data Sheets accessible. Critical phone numbers are posted. Chemicals in containers are permanently marked and contain what is on the label. Emergency info should be readily available in case of accidental exposure.
Eye wash stations are working properly.
Kitchen, pantry, laundry, trash and recycling storage areas are equipped with fire and/or smoke detectors, automatic fire suppression.
Vent hoods and duct work have an automatic fire suppression system; the system is serviced every six months.
Non-slip mats or abrasive strips are used in areas with continuously wet floors.
Protective clothing is used to prevent burns (e.g. gloves, aprons, forearm length oven/steam mitts).
Slicers, cutters and mixers have guards and interlocks in working order.
Carts, hoists, wheeled carts are used to move large objects.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Ladders
| Date: |  | Inspected By:
Ladders | Yes | Improve | No | Implement | Action Required/Comments
Are ladders free of defects or missing components?
Are mobile ladder stands in good condition?
Are standard guardrails provided on elevated platforms?
Are handrails provided on staircase ladders and in good condition?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Landscaping
| Date: |  | Inspected By:
Landscaping | Yes | Improve | No | Implement | Action Required/Comments
Shrubs and foliage located next to the building do not obscure sight lines and present a security risk.
All poisonous shrubs, trees and foliage have been removed.
Boundary edges are free from trees and telephone poles.
Trees close to light fixtures are not so close as to block light or break glass fixtures.
Limbs from shrubbery do not extend into walkway.
Tree branches are trimmed and dead limbs which may break free in high winds are not present.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Lighting
| Date: |  | Inspected By:
Lighting | Yes | Improve | No | Implement | Action Required/Comments
The hallways are properly illuminated.
Restrooms are properly illuminated.
Restrooms are supervised by staff.
Stairwells are properly illuminated.
Switches and controls are properly located and protected.
Access to electrical panels are restricted.
There is adequate lighting around the building.
Lighting is provided at entrances and other points of possible intrusion.
Accessible lenses are protected by some unbreakable material.
Directional lights are aimed at the building.
Exterior light fixtures are securely mounted.
Trees close to light fixtures are not so close as to block light or break glass fixtures.
Parking areas are adequately illuminated to aid in identifying walking surface conditions traversing to/from vehicles.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Loading Docks
| Date: |  | Inspected By:
Loading Docks | Yes | Improve | No | Implement | Action Required/Comments
No slip, trip or fall hazards – handrails secured, adequate lighting, edge of dock highlighted.
Wheel chocks used for vehicles.
Stairs are free of grease, spilled food items, and other debris that may present slipping hazards.
Handrails are secure.
Product crates are neatly arranged and are secured in a manner that wind will not cause them to tip over or scatter.
Dumpster lids are secured.
Areas around dumpsters are free of liquids that may cause slipping. Packaging materials and other trash are not lying around.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Machine Guarding
| Date: |  | Inspected By:
Machine Guarding | Yes | Improve | No | Implement | Action Required/Comments
Saws, lathes, other equipment.
Bits/Cutting heads not stored in chucks when not in use?
Lathes equipped with durable shielded guard to cover the workpiece and chuck when in operation?
Blade, splitter and kickback guards installed on table saws?
Perimeter safety zones – well marked.
Emergency stop buttons – provided.
Power to equipment properly disconnected and locked out for cleaning/maintenance.
Equipment Guards:
_____ Rotating Belts/Shafts.
_____ Nip points.
_____ Hot surfaces.
Portable Power Tools:
_____ Guards.
_____ Training.
_____ PPE.
_____ Preventative Maintenance.
Eyewash Stations: Marked/Accessible/15 Minute supply.
_____ Marked.
_____ Accessible.
_____ 15 Minute supply.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Maintenance Shop
| Date: |  | Inspected By:
Maintenance Shop | Yes | Improve | No | Implement | Action Required/Comments
Fire extinguishers are mounted and regularly serviced.
Fire extinguishers of the proper type for the chemicals on hand are mounted and serviced.
Personal protective equipment is available, in good condition and used (e.g. face shields, safety glasses, aprons, gloves, respirators).
Power shut-off switch is within reach of the operator's position at each machine.
Power to each machine can be locked out and tagged for maintenance, repair or security.
Machines cannot automatically restart when power is restored after a power shutdown or outage.
All emergency stop buttons are distinguishable red in color.
All pulleys, belts, rotating shafts, chains and gears within 7 feet of the floor on working level are guarded.
Guards are in place for points of operation, nip points, power transmission shafts and high temperature surfaces.
Machinery guards are secured so that their use does not present a hazard.
Saws used for ripping are equipped with anti-kick back devices and spreaders.
Combustible scrap, debris and waste materials are stored in covered metal receptacles and removed promptly.
Painting is done in well ventilated areas.
Approved tanks and containers are used for storage and handling of flammable materials.
All flammable liquids are sealed and stored in a flammable storage safety cabinet when not in use.
Bulk drums of flammable liquids are grounded and bonded to containers during dispensing.
Storage rooms for flammable and combustible liquids have explosion-proof lights.
Safety containers are used for dispensing liquids at the point of use.
Outside dumpsters are non-combustible and located away from the building.
Outside storage of boxes, pallets, etc. are stored away from the building.
Portable electrical tools are grounded or of the double insulated type.
Extension cords have a grounded conductor.
Multiple plug adapters are prohibited (only surge protection).
Electrical wiring and cords with frayed or deteriorated insulation are replaced.
In damp or wet locations, ground fault circuit interrupters (GFI) are used.
Flexible cords and cables are free of splices.
Electric power switches and circuit breakers are labeled to indicate their use of equipment served.
All unused openings (including conduit knockouts) in electrical enclosures are closed with appropriate covers.
Electrical panel boxes have at least 36 inches of clearance.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Offices
| Date: |  | Inspected By:
Offices | Yes | Improve | No | Implement | Action Required/Comments
Cords for equipment – no tripping hazards.
File cabinet storage – no tip-over hazard.
Computer workstations – set up to minimize strain.
School files and records are maintained in locked, vandal proof, fireproof containers or vaults.
An up-to-date inventory is maintained for all expendable school supplies.
All school equipment is permanently marked with an identification number.
Secure storage is available during and after school for valuable items.
There is a control system in place to monitor keys and duplicates.
There is a policy for handling cash received at the school.
The entrance lobby is visible from the main office.
Visitors are required to sign in.
Proper identification is required of vendors/contractors.
Visitors are issued ID cards or badges.
Friends, relatives or non-custodial/parents are required to have written permission to pick up student from school.
Students are required to have written permission to leave school during school hours.
There is two-way communication between:
_____ Classroom and main office.
_____ Duty Stations and main office.
_____ Re-locatable classrooms and main office.
There is only one clearly marked and designated entrance for visitors.
Signs are posted for visitors to report to main office through a designated entrance.
Workstations:
_____ Seating.
_____ Keyboards.
_____ Monitors.
_____ Mouse.
Floors are even, carpet is free of bulges/wrinkles and non-slip finishes are used.
Halls and aisles are free of obstacles.
Emergency phone numbers are posted.
Evacuation routes posted with primary and secondary egress routes.
Exit signs are in place, in proper working order and plainly visible.
All exits are free of obstructions.
Fire extinguishers are mounted and regularly serviced.
Electrical cords are periodically inspected and in good condition.
Fire doors are kept closed.
Electrical panel boxes have at least 36 inches of clearance.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Parking Lots
| Date: |  | Inspected By:
Parking Lots and Traffic Flow | Yes | Improve | No | Implement | Action Required/Comments
Tripping hazards controlled.
School bus loading zones.
Traffic rules posted and enforced.
One-way signs, arrows painted on lot.
Speed bumps, stop signs in use.
Visual surveillance of bicycle racks is possible.
Visual surveillance of parking lots from main office is possible.
Driver education vehicles are secure.
Designated student parking areas provided and students are issued parking passes.
Student access to parking area is restricted to arrival and dismissal times.
All areas of school buildings and grounds are accessible to patrolling security vehicles.
Parking area has been designated for students who must leave school during regular hours to begin work.
Bus loading and drop-off zones are clearly defined.
Parent drop-off and pick-up areas is clearly defined.
Restricted areas are properly identified.
Access to bus loading areas is restricted to other vehicles during loading/unloading.
Staff are assigned to bus loading/drop-off areas.
Free of large holes, cracks, ice, other debris that may pose a hazard to people entering and leaving building.
Trees close to light fixtures are not so close as to block light or break glass fixtures.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Playgrounds
| Date: |  | Inspected By:
Playgrounds | Yes | Improve | No | Implement | Action Required/Comments
Layout and design, signage (warnings).
Surfacing materials.
Equipment maintenance.
Supervision.
Spacing.
Chains.
No sharp edges.
Play areas are fenced.
Good visual surveillance of play equipment is possible.
Vehicular access to play areas is restricted.
Playground equipment has tamper-proof fasteners.
Playground equipment is in good repair.
Any visible cracks, bending or rusting of metal?
Any accessible sharp edges or points?
Any splintered, warped or deteriorated wood?
Any deformation of open hooks, rings, links, etc.?
Any worn swing hangers and chains?
Any missing or damaged swing seats?
Any heavy swings seats with sharp corners or edges?
Any broken supports/anchors?
Any jagged, exposed or cracked and loose concrete footings?
Any inadequate surfacing material under equipment?
Any exposed ends of pipe?
Any missing caps or plugs?
Any protruding bolt ends without finished caps or covers?
Any chipped or peeling paint?
Any vandalism, broken glass, trash, etc.…?
Any broken or missing rails, steps, rungs, seats?
Any loose or missing hardware?
Any pinch or crush points? Moving components, etc.…?
Any lack of lubrication on moving parts?
Any worn bearings?
Any poor drainage areas at footings, slide exits, etc.…?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## PPE
| Date: |  | Inspected By:
Personal Protective Equipment | Yes | Improve | No | Implement | Action Required/Comments
Is the use of required personal protective equipment enforced?
Is the required personal protective equipment worn?
When not in use, is personal protective equipment maintained/stored?
Is personal protective equipment readily available for all personnel including visitors to the area?
Is all personal protective equipment free from damage and deterioration?
Are all employees using respiratory protection properly trained and authorized by a competent person in respiratory protection?
Is self-contained breathing equipment maintained/inspected?
Is PPE awareness training provided to staff before use and annually thereafter?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Roof Hatches
| Date: |  | Inspected By:
Roof Hatches: | Yes | Improve | No | Implement | Action Required/Comments
*Roof hatches are usually found in custodial closets, storage areas and telecommunication room.
Should be accessible and free of stored items three feet in front of ladder.
Ladder should be secured to wall in a sturdy manner.
Lighting in this area is adequate for persons to see rungs and the roof hatch handle.
Hatch handle should be easy to operate with one hand; hinges on hatch should work easily.
Where necessary, a safety cage should be present at top of ladder.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## School Bus Zone
| Date: |  | Inspected By:
School Bus Zone | Yes | Improve | No | Implement | Action Required/Comments
Access to bus loading areas is restricted to other vehicles during loading/unloading.
Staff are assigned to bus loading/drop-off areas.
Do staff wear reflective vest/apparel to aid in visibility to drivers?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Science Labs
| Date: |  | Inspected By:
Science Labs | Yes | Improve | No | Implement | Action Required/Comments
Functional emergency equipment – safety shower, eyewash station, fire blanket and fire extinguisher.
Personal protective equipment – enforced.
Chemical storage – by compatibility.
Annual inventory of chemicals performed.
Security – supervised or locked storage rooms.
Eyewash Stations:
_____Plumbed emergency eyewash/shower stations flushed and inspected monthly, prepared eyewash solution containers not expired.
_____ Marked.
_____ Accessible.
_____ 15 Minute supply.
Hazcom:
_____ Posting.
_____ MSDS File.
_____ Lids/Labels.
_____ Training.
Personal Protective Equipment:
_____ Gloves.
_____ Eyewear.
_____ Hearing.
_____ Footwear.
_____ Barrier-creams.
_____ Clothing.
_____ Heat/Cold.
Portable fire extinguishers are either carbon dioxide, dry chemical or halogenated agent types.
Portable fire extinguishers are within 30 feet of all occupants.
All laboratories have a fire alarm system which alerts all building occupants and local fire department.
Non-combustible fume hoods are provided.
Chemical Stockroom:
_____Acid storage cabinet provided to separate storage of acids and bases.
_____ Ventilation to the outside.
_____ Not crowded, good housekeeping.
_____ All containers are labeled: toxicity, flammability,
reactivity, date received, disposal date.
_____ Not used as a preparation area.
_____ Access is limited/controlled.
_____ Spill trays are used.
_____ Room construction would stop fire spread.
_____ Incompatible or reactive chemicals are separated.
_____ Unbreakable containers are used.
Electronic panel boxes have at least 36 inches of clearance.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Security
| Date: |  | Inspected By:
Security | Yes | Improve | No | Implement | Action Required/Comments
Adequate exterior lighting – including weekends:
Doors, gates, loading docks.
Bus garages, parking lots.
Selected lighting – inside buildings:
After hours, on weekends.
Are alarms connected to a central station that is monitor 24/7.
School files and records are maintained in locked, vandal proof, fireproof containers or vaults.
An up-to-date inventory is maintained for all expendable school supplies.
All school equipment is permanently marked with an identification number.
Secure storage is available during and after school for valuable items.
There is a control system in place to monitor keys and duplicates.
There is a policy for handling cash received at the school.
A record of Fire Inspection by the local or state Fire Office is maintained.
There are written regulations regarding access and control of school personnel using the building after school hours.
Staff members who remain after school hours are required to sign in and out.
Does a designated person perform security checks at the end of the day:
_____ Check that all classrooms and offices are locked.
_____ Check all restrooms, locker rooms, fitness rooms,
multi-purpose rooms to verify areas are unoccupied.
_____ Check all exterior entrances to assure that they are
locked.
_____ Check all night lights to assure that they have been
turned on.
_____ Verify alarm is functioning and armed.
functioning properly.
The contact information of building administrators and/or district administrators have been provided to local law enforcement agencies to contact should an emergency situation be identified during patrols.
Law enforcement personnel monitor school grounds after school hours.
Fire drills are conducted as required.
The bathroom walls are free of graffiti.
The entrance lobby is visible from the main office.
Visitors are required to sign in.
Proper identification is required of vendors, repairmen, etc.
Visitors are issued ID cards or badges.
Full and part-time staff, including bus drivers, are issued ID cards or other identification.
Friends, relatives or non-custodial parents are required to have written permission to pick up student from school.
Students are required to have written permission to leave school during school hours.
If a classroom is vacant, students are restricted from entering room alone.
All areas of school buildings and grounds are accessible to patrolling security vehicles.
There is a central alarm system in the school.
High risk areas (office, cafeteria, computer room, music room, shops, labs, etc.,) are protected by high security locks and an alarm system.
Unused areas of the school can be closed off during after school activities.
There is two-way communication between:
_____ Classroom and main office.
_____ Duty Stations and main office.
_____ Re-locatable classrooms and main office.
Students are restricted from loitering in corridors, hallways, stairwells and restrooms.
Students are issued identification badges.
There are written regulations restricting student access to school grounds and buildings.
There is a schedule for maintenance for checking lights, locks/hardware, storage sheds, portable classrooms.
The school ground is free from graffiti, trash and/or debris.
School grounds are fenced.
Gates are secured by good padlock and chains after hours.
There is only one clearly marked and designated entrance for visitors.
Signs are posted for visitors to report to main office through a designated entrance.
There is adequate lighting around the building.
Lighting is provided at entrances and other points of possible intrusion.
Accessible lenses are protected by some unbreakable material.
Directional lights are aimed at the building.
Exterior light fixtures are securely mounted.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Sidewalks
| Date: |  | Inspected By:
Sidewalks | Yes | Improve | No | Implement | Action Required/Comments
Smooth walking surfaces.
Good lighting.
Steps, ramps – securely fastened handrails.
Sidewalks and walkways are free of large gaps, differences in elevation, ice, spilled substances, weeds, and broken glass.
Limbs from shrubbery do not extend into walkway.
Tree branches are trimmed and dead limbs which may break free in high winds are not present.
Overhangs and eaves are free from ice, snow, or other debris that may fall on people who are entering or leaving the building.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Signage
| Date: |  | Inspected By:
Signage | Yes | Improve | No | Implement | Action Required/Comments
Exit signs are clearly visible and pointing in the correct direction.
Drug-free zone signs are clearly defined.
Bus loading and drop-off zones are clearly defined.
Parent drop-off and pick-up areas is clearly defined.
There is only one clearly marked and designted entrance for visitors.
Signs are posted for visitors to report to main office through a designated entrance.
Restricted areas are properly identified.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Staff Room
| Date: |  | Inspected By:
Staff Room / Office Areas | Yes | Improve | No | Implement | Action Required/Comments
Employment Law Posters present.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Stairs
| Date: |  | Inspected By:
Stairs | Yes | Improve | No | Implement | Action Required/Comments
Handrails – secured, good lighting.
Stair treads – uniform, good condition.
Stairwell fire doors – not propped open.
No storage that could hinder egress.
No storage of flammable or combustible materials at any time.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Storage Gen
| Date: |  | Inspected By:
Storage - General | Yes | Improve | No | Implement | Action Required/Comments
Is housekeeping of work areas and aisles maintained free of debris, combustibles and obstructions?
Is the maximum load limit exceeded on storage shelving systems, stored in a manner to not collapse or extend over edges?
Is there at least 18-inches of clearance between stacked materials and ceiling light?
Storage - Fire Protection | Yes | Improve | No | Implement | Action Required/Comments
Is the storage of combustibles in the work area held to a minimum to avoid a fire hazard?
Is a minimum of 18-inches of clearance provided from the top of stored materials and sprinkler heads?
Are flammable/combustible liquids in excess of one day's operational supply kept in approved flammable liquids storage cabinets?
Are all flammable liquids storage cabinets free of combustible materials (cardboard, paper, plastic, etc.)?
Are all flammable containers properly closed/covered to control vapors?
Are all flammable/combustible containers properly labeled/identified?
Are flammable/combustible liquids returned to approved flammable liquid storage cabinets at the end of the workday?
Storage - Compressed Glass Cylinders | Yes | Improve | No | Implement | Action Required/Comments
Are all cylinders properly secured with straps or chains to prevent tipping/falling?
Are protective valve caps in place when cylinder is not in use?
Are empty and full cylinders stored separately?
Are only chemically compatible cylinders stored together?
Are cylinder contents adequately labeled and easily seen?
Is the correct regulator being used for the cylinder service?
Are highly toxic gases stored in vented gas cabinets?
Storage Rooms and Custodial Supply Closets | Yes | Improve | No | Implement | Action Required/Comments
Desks, chairs, computer equipment, etc., are not stacked so that they can easily fall over.
Cleaning chemicals and other stored liquids are not leaking, floors are clean and dry.
Is a minimum of 36-inches clearance provided in front of electrical equipment, including panels and controls?
Electrical panel covers are in place and secure.
Floor machines, cleaning carts and mop buckets are not blocking access to critical equipment.
Safety Data Sheets are posted where chemicals and cleaning agents are stored. All chemicals are in containers that are clearly labeled as to the contents held within, and are permanently marked with emergency information.
Personal protective equipment such as gloves, safety glasses, and slip resistant footwear is available and properly stored.
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Swimming Pool
| Date: |  | Inspected By:
Swimming Pools | Yes | Improve | No | Implement | Action Required/Comments
Safety rules – posted and enforced.
Certified lifeguard – on duty during open hours.
Depth markers – on deck and on pool walls.
No diving – posted at shallow end of pool.
Safety rope – just before slope break.
Starting blocks – deep end of pool.
First aid equipment – two-piece stretcher, neck stabilizer and oxygen available.
3-year electrical inspection completed and certificate posted or available?
Is access to the pool pump/equipment room restricted to authorized personnel only?
Is life saving rescue equipment readily available?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.

## Training
| Date: |  | Inspected By:
Training | Yes | Improve | No | Implement | Action Required/Comments
Have personnel been trained in the use of personal protective equipment?
Are all employees trained in hazardous substances safety?
Have personnel working in high noise areas been trained in hearing conservation?
Have employees who use respirators been trained, fit tested, and received the required health monitoring examination?
Are employees who use self-contained breathing apparatus properly trained and authorized?
Evacuation plans?
The information contained in these materials is intended solely to provide general guidance on topics that may be of interest to you. While we have made reasonable efforts to present accurate and reliable information, CM Regent Insurance Company® disclaims all liability for any errors or omissions or for any actions you take or fail to take based on these materials. The information provided may not apply to your particular facts or circumstances; therefore, you should seek professional advice prior to relying on any information that may be found in these materials.
CM0570 (04-2022) ©2022 Church Mutual Insurance Company, S.I.